## SWMP MM 1-6
Stormwater Management Program Annual report
Six Minimum Measures Section
March 10, 2003 – March 9, 2004
Municipality Name: | Town of Westmoreland |  |  | SPDES Number: NYR20A195________
Minimum Measure 1: Public Education and Outreach in Stormwater Impacts
A. Narrative Overview:
B. Implementation of Best Management Practices |  |  |  | C. Activities Planned for Upcoming Year
Type in the management practices selected in your NOI and any additional ones that you worked on. | Any done in the past year? |  | If YES, describe what measurable goals that were achieved and other accomplishments. | Describe SWMP activities that are planned for the next year and changes to selected management practices/measurable goals .
If NO, and the item was checked off on your NOI, describe why the task was not accomplished and, if still a measurable goal, list in column C.
| YES | NO
Techniques
Plan and conduct an ongoing public education and outreach program (required) | X |  | Began compiling library; mailing list developed for MS4 stakeholders; stormwater educational materials sent directly to stakeholders | will continue to augment the library; will include stormwater information on the Town's webpage.
Minimum Measure 2: Public Involvement/Participation
A. Narrative Overview:
B. Implementation of Best Management Practices |  |  |  | C. Activities Planned for Upcoming Year
Type in the management practices selected in your NOI and any additional ones that you worked on. | Any done in the past year? |  | If YES, describe what measurable goals that were achieved and other accomplishments. | Describe SWMP activities that are planned for the next year and changes to selected management practices/measurable goals .
If NO, and the item was checked off on your NOI, describe why the task was not accomplished and, if still a measurable goal, list in column C.
| YES | NO
Techniques
Public notice and access to documents and information (required) | x |  | The Town has discussed MS4 regulations at a public meeting of the Town Board; public has access to the stormwater documents at the Town offices | will continue to provide access to stormwater information in Town's library; will present information to the Town about MS4 regulations and the status of the Stormwater Management Plan.
Public presentation and comments received on SWMP and annual report (required) |  | x | The annual report was not completed by the May meeting for public comment and review. | The Annual Report will be presented and discussed at the June Meeting of the Town Board.
Public involvement/ | x |  | Participate in the regular meetings of the Intermunicipal Stormwater Management Working Group | Will continue to send a representative to attend regular meetings of the MS4 group.
participation program(required)
Contact person identified (required) | x |  | Hubert Pritchard, Town Supervisor, is the official contact for stormwater. | No Change from NOI
Minimum Measure 3: Illicit Discharge Detection and Elimination
A. Narrative Overview:
B. Implementation of Best Management Practices |  |  |  | C. Activities Planned for Upcoming Year
Type in the management practices selected in your NOI and any additional ones that you worked on. | Any done in the past year? |  | If YES, describe what measurable goals that were achieved and other accomplishments. | Describe SWMP activities that are planned for the next year and changes to selected management practices/measurable goals .
If NO, and the item was checked off on your NOI, describe why the task was not accomplished and, if still a measurable goal, list in column C.
| YES | NO
Activites
Outfall mapping (required) | x |  | MS4 representatives have completed an assessment of the MS4 regulated area; as the area only includes a small developed area, Town officials are confident that they are aware of the structure and outfall location of the stormwater system. | SWCD will field verify the outfall locations in the summer of 2004 with GPS technology.
Illicit discharges prohibited (required) | x |  | Codes Enforcement Officers in the Town follow the existing County codes related to illicit discharges into a storm sewer system. | Town will review existing procedures and ordinances and compare to forthcoming guidance in order to determine if new ordinances are necessary. If revised ordinances are necessary, the Town will develop and adopt within the 2004/2005 reporting period.
Public, employees, businesses informed of hazards from illicit discharges (required) |  | x | Employees of Codes Department are available to dye test in areas where illicit discharges are suspected in the MS4 area. Highway Department officials attend training regarding the prevention of illicit discharges into the MS4 areas; | The SWCD will provide a newsletter article regarding illicit discharge hazards to the Town. The Town will distribute the information to the public within the MS4 area. Information will also be added to the Town's website;
Illicit discharges identified (required) | x |  | There are no septic systems within the MS4 area - the Town has verified this with a subterraenian video. | Will work with the SWCD in order to study the system and identify possible illicit discharges including roof and foundation drains.
Minimum Measure 4: Construction Site Stormwater Runoff Control
A. Narrative Overview:
B. Implementation of Best Management Practices |  |  |  | C. Activities Planned for Upcoming Year
Type in the management practices selected in your NOI and any additional ones that you worked on. | Any done in the past year? |  | If YES, describe what measurable goals that were achieved and other accomplishments. | Describe SWMP activities that are planned for the next year and changes to selected management practices/measurable goals .
If NO, and the item was checked off on your NOI, describe why the task was not accomplished and, if still a measurable goal, list in column C.
| YES | NO
Requirements
Require erosion and sedimentation controls through an ordinance or other regulatory mechanism (required) | x |  | All properties in the Town, with the exception of 1 and 2 family residences are subject to existing Town regulations per Local Law 3 of the Year 2002: " A Local Law Enacting Site Plan Review Law of the Town of Westmoreland, New York"; See Section 9 of this Law in Appendix B. | Will review and update and revise existing law if necessary as guidance becomes available; Assistance to be sought from the SWCD and HOCCPP.
Provide opportunity for public comment on construction plans (required) | x |  | Existing Local Law 3 Section 7; See Appendix C | Will review and update and revise existing law if necessary as guidance becomes available; Assistance to be sought from the SWCD and HOCCPP.
Require construction site plan review (required) | x |  | Existing Local Law 3; Section 5; See Appendix D | Will review and update and revise existing law if necessary as guidance becomes available; Assistance to be sought from the SWCD and HOCCPP. Also, SWCD will provide site plan review on selected plans.
Require overall construction site waste management (required) | x |  | Existing Local Law 3; Section 6 Part A, Number 10; See Appendix E | Will review and update and revise existing law if necessary as guidance becomes available; Assistance to be sought from the SWCD and HOCCPP.
Site inspection and enforcement (required) | x |  | Building Inspector has existing authority to inspect sites | SWCD will provide assistance to the MS4 with construction site inspection upon request.
Education and training of construction site operators (required) | x |  | SWCD and HOCCPP have sponsored workshops for contractors and highway personnel to provide information on the new Phase II stormwater regulations. | MS4 representatives will continue to obtain training as opportunities become available.
Minimum Measure 5: Post-Construction Stormwater Management
A. Narrative Overview:
B. Implementation of Best Management Practices |  |  |  | C. Activities Planned for Upcoming Year
Type in the management practices selected in your NOI and any additional ones that you worked on. | Any done in the past year? |  | If YES, describe what measurable goals that were achieved and other accomplishments. | Describe SWMP activities that are planned for the next year and changes to selected management practices/measurable goals .
If NO, and the item was checked off on your NOI, describe why the task was not accomplished and, if still a measurable goal, list in column C.
| YES | NO
Requirements
Assess existing conditions throughout the MS4 and identify appropriate management practices to reduce pollutant discharge to the maximum extent practicable (required) | x |  | There is no structure within the MS4 area for which the Town is responsible for maintenance. New sanitary sewer project revised the road layout and regraded the ditches. The ditches are maintained by the Town. | No Change from the NOI
Regulate post-construction runoff from development through an ordinance or other regulatory mechanism (required) |  | x | Not really applicable in the MS4 area within the Town of Westmoreland; In addition, guidance was unavailable to assist with ordinance development and adoption. | Will review existing ordinances and will develop and adopt new ordinances as guidance becomes available.
Develop management practice inspection and maintenance program (required) | x |  | Currently, the Highway Department personnel and the Codes Officer inspect problem areas as complaints or issues arise. | Will continue existing practices and will also refer problem areas to the SWCD for assistance within the MS4 area.
Minimum Measure 6: Pollution Prevention/Good Housekeeping
A. Narrative Overview:
B. Implementation of Best Management Practices |  |  |  | C. Activities Planned for Upcoming Year
Type in the management practices selected in your NOI and any additional ones that you worked on. | Any done in the past year? |  | If YES, describe what measurable goals that were achieved and other accomplishments. | Describe SWMP activities that are planned for the next year and changes to selected management practices/measurable goals .
If NO, and the item was checked off on your NOI, describe why the task was not accomplished and, if still a measurable goal, list in column C.
| YES | NO
Requirements
Prevent discharge of pollutants from municipal operations (required) |  | x | No municipal operations within the MS4 regulated area- area doesn't include municipal buildings (ie, Highway garage) | No Change from NOI
Follow DEC NPS management Practices catalog, or equivalent (required) |  | x | No construction planned or currently underway by the Town within the MS4 area - 100% built out; | When road ditches in the MS4 area are cleaned, the Town will reseed the disturbed areas promptly per guidance from NYSDEC. Street sweeping will occur within the MS4 area in order to reduce the volume of sediment entering the MS4 system.
Conduct employee pollution prevention training (required) | x |  | Town Highway Superintendent attends training sessions sponsored by the SWCD, HOCCPP and Cornell Local Roads to update skills and knowledge of stormwater and erosion and sediment control issues. | Will continue to attend training sessions as they become available.
Use this table to summarize your Stormwater Management Program Minimum Measures for Sections I through VI. We request that MS4s fill out this table electronically. The table is available in Microsoft Word, Microsoft Excel and Corel WordPerfect, or you may duplicate this table manually. To request the electronic versions, send an e-mail to stormh2o@gw.dec.state.ny.us with the subject line: SWMPAR/MMC REQUEST. You will receive all three software versions. Once you have completed the table, send a hard copy only with your report to the addresses in the instructions.
• The Town of Westmoreland has made progress toward the completion of year one goals for Public Education and Outreach for our stormwater management plan. We have begun to develop a library of stormwater materials which will be augmented as material becomes available. In addition, we developed a mailing list of affected stakeholders within the MS4 area and mailed an article about stormwater prepared by the SWCD. In addition, the Town picks up green waste within the MS4 region, information is also available at the Town Hall regarding trash and recyclable collection.
• The MS4 area in the Town of Westmoreland is exceptionally small and affects fewer than 30 residences in a town with a population over 6000. Despite the small area affected by the MS4 regulation, the Town has made progress toward the completion of Year 1 goals in Public Involement and Participation. The MS4 regulations have been addressed at Town Board meetings, information has been mailed to affected parties, MS4 representatives have also participated in the Intermunicipal Stormwater Management Working Group.
• In the Town of Westmoreland, the only area affected by the MS4 regulations is in the Martin Drive vicinity. An existing parcel map located in the Town’s tax department shows the extent of the stormwater system. The Town’s codes mirror those of Oneida County which prohibit septic systems from being connected to the storm system. Codes Officers complete dye testing if and when an illicit discharge is detected or suspected
• The Town of Westmoreland MS4 area is “built out” . However, the Town has existing regulations regarding erosion and sediment control, public comment on construction plans, site plan review and site inspection. MS4 reps from the Town and/or contractors from the area have attended training sessions regarding stormwater Phase II regulations. The Town will review new guidance for ordinances to ensure that erosion and sediment control, site plan review and waste management are properly and adequately addressed.
• The limited MS4 area within the Town of Westmoreland does not include any post construction stormwater structures for which the Town is responsible for maintenance. Ordinances have not yet been developed as a result of the lack of need and the lack of guidance. The stormwater system is almost exclusively an open system. When ditches are cleaned, the Town will ensure promt reseeding per guidance provided by the NYS DEC.
• The Town of Westmoreland has made progress toward completing Pollution Prevention / Good Housekeeping measures within the MS4 area. The Highway Department personnel attends training sessions related to construction BMPs as opportunities become available. The MS4 also sends representatives to the regular meetings of the Intermunicipal Stormwater Management Working Group. However, the applicability of Minimum Measure 6 within the MS4 area is limited given the size and location of the Town’s MS4 area. The Town has committed to participating in the grant which was recently obtained by the SWCD to assist MS4s within the Utica Urbanized Area. This letter of agreement has been included in Appendix A.